{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["空调机"],"not_rendered":{"external_links":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"空调机","index":0,"n_rows":20,"n_cols":13,"rows_kept":20,"merged":[[0,0,0,12],[1,0,1,12],[2,0,2,1],[3,0,3,1],[6,0,6,1],[7,0,7,1],[8,0,8,1],[9,0,9,1],[10,0,10,1],[11,0,11,1],[12,0,12,1],[13,0,13,1],[14,0,14,1],[15,0,15,1],[16,0,16,1],[17,0,17,1],[18,0,18,1],[19,0,19,1],[19,2,19,12]],"flags":["formulas_cached_only"]}
["2015年空调机配置参考"]
["一、基本配置"]
["配置",null,"分体定速壁挂机1","分体定速壁挂机2","分体定速壁挂机3","分体变频壁挂机1","分体变频壁挂机2","分体变频壁挂机3","分体定速柜机1","分体定速柜机2","分体定速柜机3","分体变频柜机1","分体变频柜机2"]
["价格",null,"2300元","3000元","5000元","3500元","4000元","7000元","5000元","7000元","10000元","7000元","9000元"]
["规格（匹数）",null,"1P","1.5P","2P","1P","1.5P","2P","2P","3P","5P","2P","3P"]
["额定制冷量（W）",null,"2500≤额定制冷量＜3200","3500≤额定制冷量＜5000","5000≤额定制冷量＜7200","2500≤额定制冷量＜3200","3500≤额定制冷量＜5000","5000≤额定制冷量＜7200","5000≤额定制冷量＜7200","7200≤额定制冷量＜12000","额定制冷量≥12000","5000≤额定制冷量＜7200","7200≤额定制冷量＜12000"]
["制冷面积",null,"10-15m2","16-24m2","22-34m2","10-15m2","16-24m2","22-34m2","22-34m2","32-50m2","46-70m2","22-34m2","32-50m2"]
["冷暖类型",null,"冷暖","冷暖","冷暖","冷暖","冷暖","冷暖","冷暖","冷暖","冷暖","冷暖","冷暖"]
["能效等级",null,"≥二级","≥二级","≥二级","≥二级","≥二级","≥二级","≥二级","≥二级","≥二级","≥二级","≥二级"]
["电辅加热",null,"支持","支持","支持","支持","支持","支持","支持","支持","支持","支持","支持"]
["颜色",null,"白色","白色","白色","白色","白色","白色","白色","白色","白色","白色","白色"]
["随机配插头/空开",null,"220V插头","220V插头","220V空气开关","220V插头","220V插头","220V空气开关","220V空气开关","220V空气开关","380V空气开关","220V空气开关","220V空气开关"]
["随机连接管长度",null,"≥2.5米","≥2.5米","≥2.5米","≥2.5米","≥2.5米","≥2.5米","≥4.5米","≥4.5米","≥4.5米","≥4.5米","≥4.5米"]
["随机水管长度",null," ≥ 3米"," ≥ 3米"," ≥ 3米"," ≥ 3米"," ≥ 3米"," ≥ 3米"," ≥ 3米"," ≥ 3米"," ≥ 3米"," ≥ 3米"," ≥ 3米"]
["随机电源线长度",null,"1.5米","1.5米","1.5米","1.5米","1.5米","1.5米","1.5米","1.5米","1.5米","1.5米","1.5米"]
["连接管加长价格（包括高低压管路、保温套、连接线、焊接、缠带、加长管部加冷媒等）",null,"75元/米","75元/米","100元/米","75元/米","75元/米","100元/米","100元/米","120元/米","150元/米","100元/米","120元/米"]
["水管加长价格",null,"10元/米","10元/米","10元/米","10元/米","10元/米","10元/米","10元/米","10元/米","10元/米","10元/米","10元/米"]
["电源线加长价格",null,"10元/米","10元/米","15元/米","10元/米","10元/米","15元/米","15元/米","25元/米","30元/米","15元/米","25元/米"]
["支架（含地角、膨胀螺丝）",null,"25元","25元","25元","25元","25元","25元","25元","35元","60元","25元","35元"]
["售后服务",null,"售后服务标准必须与该产品出厂市场标准服务一致,同时还应包括:整机六年质保；5*8小时技术支持服务；2小时电话响应，第二个工作日现场服务；故障报修后两个工作日解决问题。免费送货到中央单位指定的地点，免费上门勘查设计安装方案，免费安装。安装过程中免费打孔（砖墙），混凝土和玻璃打孔不超过50元/个，拆装护栏/门不超过100元，拆除原有旧机不超过100元/台，免收高空作业费。因加长连接管需要加注冷媒的不再另行收费。"]